## Combined Data
Easwari Engineering College – Combined Component Inventory
■ Blue rows = Energy Audit (EB Block-1 & Admin Block) ■ Green rows = Block-3 Component Inventory
S.No. | Block | Floor | Room No. / Location | Component Name | Count | Ratings | Source
1 | EB Block-1 | Ground | corridor | LED TV | 1 |  | Energy Audit (EB Block-1 & Admin Block)
2 | EB Block-1 | Ground | corridor | LED Panel Lamp | 6 |  | Energy Audit (EB Block-1 & Admin Block)
3 | EB Block-1 | Ground | corridor | Fire Alarm Panel | 1 |  | Energy Audit (EB Block-1 & Admin Block)
4 | EB Block-1 | Ground | corridor | Diesel Generator | 1 |  | Energy Audit (EB Block-1 & Admin Block)
5 | EB Block-1 | G To F Staircase | corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
6 | EB Block-1 | First Floor | corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
7 | EB Block-1 | First Floor | corridor | Fluorescent Tube | 3 |  | Energy Audit (EB Block-1 & Admin Block)
8 | EB Block-1 | First Floor | LH-32 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
9 | EB Block-1 | First Floor | LH-32 | LED Tube | 6 |  | Energy Audit (EB Block-1 & Admin Block)
10 | EB Block-1 | First Floor | LH-32 | Fluorescent Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
11 | EB Block-1 | First Floor | LH-31 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
12 | EB Block-1 | First Floor | LH-31 | LED Tube | 7 |  | Energy Audit (EB Block-1 & Admin Block)
13 | EB Block-1 | First Floor | LH-31 | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
14 | EB Block-1 | First Floor | LH-30 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
15 | EB Block-1 | First Floor | LH-30 | LED Tube | 5 |  | Energy Audit (EB Block-1 & Admin Block)
16 | EB Block-1 | First Floor | LH-30 | Fluorescent Tube | 3 |  | Energy Audit (EB Block-1 & Admin Block)
17 | EB Block-1 | First Floor | LH-29 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
18 | EB Block-1 | First Floor | LH-29 | LED Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
19 | EB Block-1 | First Floor | LH-29 | Fluorescent Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
20 | EB Block-1 | First Floor | HOD & Staff Room | PC | 5 |  | Energy Audit (EB Block-1 & Admin Block)
21 | EB Block-1 | First Floor | HOD & Staff Room | Printer | 2 |  | Energy Audit (EB Block-1 & Admin Block)
22 | EB Block-1 | First Floor | HOD & Staff Room | Induction Fan | 5 |  | Energy Audit (EB Block-1 & Admin Block)
23 | EB Block-1 | First Floor | HOD & Staff Room | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
24 | EB Block-1 | F To S Staircase | corridor | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
25 | EB Block-1 | Second Floor | corridor | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
26 | EB Block-1 | Second Floor | corridor | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
27 | EB Block-1 | Second Floor | LH-36 | Fluorescent Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
28 | EB Block-1 | Second Floor | LH-36 | LED Tube | 5 |  | Energy Audit (EB Block-1 & Admin Block)
29 | EB Block-1 | Second Floor | LH-36 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
30 | EB Block-1 | Second Floor | LH-35 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
31 | EB Block-1 | Second Floor | LH-35 | LED Tube | 5 |  | Energy Audit (EB Block-1 & Admin Block)
32 | EB Block-1 | Second Floor | LH-35 | Fluorescent Tube | 5 |  | Energy Audit (EB Block-1 & Admin Block)
33 | EB Block-1 | Second Floor | Staff Room | PC | 5 |  | Energy Audit (EB Block-1 & Admin Block)
34 | EB Block-1 | Second Floor | Staff Room | Printer | 2 |  | Energy Audit (EB Block-1 & Admin Block)
35 | EB Block-1 | Second Floor | Staff Room | Induction Fan | 5 |  | Energy Audit (EB Block-1 & Admin Block)
36 | EB Block-1 | Second Floor | Staff Room | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
37 | EB Block-1 | Second Floor | LH-34 | Fluorescent Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
38 | EB Block-1 | Second Floor | LH-34 | LED Tube | 6 |  | Energy Audit (EB Block-1 & Admin Block)
39 | EB Block-1 | Second Floor | LH-34 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
40 | EB Block-1 | Second Floor | LH-33 | Fluorescent Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
41 | EB Block-1 | Second Floor | LH-33 | LED Tube | 6 |  | Energy Audit (EB Block-1 & Admin Block)
42 | EB Block-1 | Second Floor | LH-33 | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
43 | EB Block-1 | S To T Staircase | Corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
44 | EB Block-1 | Third Floor | Corridor | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
45 | EB Block-1 | Third Floor | Chip Design Lab | PC | 30 |  | Energy Audit (EB Block-1 & Admin Block)
46 | EB Block-1 | Third Floor | Chip Design Lab | Smart Board | 1 |  | Energy Audit (EB Block-1 & Admin Block)
47 | EB Block-1 | Third Floor | Chip Design Lab | BLDC Fan | 9 |  | Energy Audit (EB Block-1 & Admin Block)
48 | EB Block-1 | Third Floor | Chip Design Lab | Wall Mount Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
49 | EB Block-1 | Third Floor | Chip Design Lab | AC | 2 |  | Energy Audit (EB Block-1 & Admin Block)
50 | EB Block-1 | Third Floor | Chip Design Lab | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
51 | EB Block-1 | Third Floor | Chip Design Lab | Square Ceiling Light | 19 |  | Energy Audit (EB Block-1 & Admin Block)
52 | EB Block-1 | Third Floor | Chip Design Lab | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
53 | EB Block-1 | Third Floor | Microprocessor Lab | AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
54 | EB Block-1 | Third Floor | Microprocessor Lab | PC | 26 |  | Energy Audit (EB Block-1 & Admin Block)
55 | EB Block-1 | Third Floor | Microprocessor Lab | Square Ceiling Light | 27 |  | Energy Audit (EB Block-1 & Admin Block)
56 | EB Block-1 | Third Floor | Microprocessor Lab | Induction Fan | 11 |  | Energy Audit (EB Block-1 & Admin Block)
57 | EB Block-1 | Third Floor | Microprocessor Lab | Inverter | 2 |  | Energy Audit (EB Block-1 & Admin Block)
58 | EB Block-1 | Third Floor | Microprocessor Lab | Battery (40Ah, 12V) | 16 |  | Energy Audit (EB Block-1 & Admin Block)
59 | EB Block-1 | Third Floor | Microprocessor Lab | Battery (65Ah, 12V) | 16 |  | Energy Audit (EB Block-1 & Admin Block)
60 | EB Block-1 | Third Floor | Microprocessor Lab | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
61 | EB Block-1 | Third Floor | Microprocessor Lab | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
62 | EB Block-1 | Third Floor | Microprocessor Lab | LED Tube | 5 |  | Energy Audit (EB Block-1 & Admin Block)
63 | EB Block-1 | Third Floor | BME HOD Room | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
64 | EB Block-1 | Third Floor | BME HOD Room | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
65 | EB Block-1 | Third Floor | BME HOD Room | Induction Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
66 | EB Block-1 | Third Floor | BME HOD Room | PC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
67 | EB Block-1 | Third Floor | BME HOD Room | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
68 | EB Block-1 | Third Floor | BME HOD Room | Exhaust | 1 |  | Energy Audit (EB Block-1 & Admin Block)
69 | EB Block-1 | Third Floor | BME HOD Room | Printer | 2 |  | Energy Audit (EB Block-1 & Admin Block)
70 | EB Block-1 | Third Floor | BME HOD Room | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
71 | EB Block-1 | Third Floor | BME Department Office | PC | 2 |  | Energy Audit (EB Block-1 & Admin Block)
72 | EB Block-1 | Third Floor | BME Department Office | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
73 | EB Block-1 | Third Floor | BME Department Office | Induction Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
74 | EB Block-1 | Third Floor | BME Department Office | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
75 | EB Block-1 | Third Floor | BME Department Office | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
76 | EB Block-1 | Third Floor | BME Corridor | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
77 | EB Block-1 | Third Floor | BME Corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
78 | EB Block-1 | Third Floor | LH-38 | Induction Fan | 6 |  | Energy Audit (EB Block-1 & Admin Block)
79 | EB Block-1 | Third Floor | LH-38 | Fluorescent Tube | 3 |  | Energy Audit (EB Block-1 & Admin Block)
80 | EB Block-1 | Third Floor | LH-38 | LED Tube | 3 |  | Energy Audit (EB Block-1 & Admin Block)
81 | EB Block-1 | Third Floor | LH-37 | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
82 | EB Block-1 | Third Floor | LH-37 | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
83 | EB Block-1 | Third Floor | LH-37 | Induction Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
84 | EB Block-1 | T To F Staircase | corridor | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
85 | EB Block-1 | Fourth Floor | corridor | Fluorescent Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
86 | EB Block-1 | Fourth Floor | ECE HOD Office | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
87 | EB Block-1 | Fourth Floor | ECE HOD Office | PC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
88 | EB Block-1 | Fourth Floor | ECE HOD Office | Wall Mount Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
89 | EB Block-1 | Fourth Floor | ECE HOD Office | Induction Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
90 | EB Block-1 | Fourth Floor | ECE HOD Office | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
91 | EB Block-1 | Fourth Floor | ECE HOD Office | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
92 | EB Block-1 | Fourth Floor | ECE Staff Room | Fluorescent Tube | 4 |  | Energy Audit (EB Block-1 & Admin Block)
93 | EB Block-1 | Fourth Floor | ECE Staff Room | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
94 | EB Block-1 | Fourth Floor | ECE Staff Room | Induction Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
95 | EB Block-1 | Fourth Floor | ECE Staff Room | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
96 | EB Block-1 | Fourth Floor | Maths Staff Room | Induction Fan | 9 |  | Energy Audit (EB Block-1 & Admin Block)
97 | EB Block-1 | Fourth Floor | Maths Staff Room | Fluorescent Tube | 8 |  | Energy Audit (EB Block-1 & Admin Block)
98 | EB Block-1 | Fourth Floor | Maths Staff Room | Wall Mount Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
99 | EB Block-1 | Fourth Floor | Maths HOD Room | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
100 | EB Block-1 | Fourth Floor | Maths HOD Room | PC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
101 | EB Block-1 | F To F Staircase | Corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
102 | EB Block-1 | Fifth Floor | Corridor | Square Ceiling Light | 7 |  | Energy Audit (EB Block-1 & Admin Block)
103 | EB Block-1 | Fifth Floor | Corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
104 | EB Block-1 | Fifth Floor | ECE Library | BLDC Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
105 | EB Block-1 | Fifth Floor | ECE Library | Induction Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
106 | EB Block-1 | Fifth Floor | ECE Library | PC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
107 | EB Block-1 | Fifth Floor | ECE Library | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
108 | EB Block-1 | Fifth Floor | ECE Library | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
109 | EB Block-1 | Fifth Floor | ECE Library | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
110 | EB Block-1 | Fifth Floor | ECE Library | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
111 | EB Block-1 | Fifth Floor | ECE Staff Room | Induction Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
112 | EB Block-1 | Fifth Floor | ECE Staff Room | Fluorescent Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
113 | EB Block-1 | Fifth Floor | ECE Staff Room | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
114 | EB Block-1 | Fifth Floor | Analog Circuits Lab | PC | 15 |  | Energy Audit (EB Block-1 & Admin Block)
115 | EB Block-1 | Fifth Floor | Analog Circuits Lab | AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
116 | EB Block-1 | Fifth Floor | Analog Circuits Lab | Induction Fan | 10 |  | Energy Audit (EB Block-1 & Admin Block)
117 | EB Block-1 | Fifth Floor | Analog Circuits Lab | Fluorescent Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
118 | EB Block-1 | Fifth Floor | Analog Circuits Lab | LED Tube | 5 |  | Energy Audit (EB Block-1 & Admin Block)
119 | EB Block-1 | Fifth Floor | E-Con Lab | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
120 | EB Block-1 | Fifth Floor | E-Con Lab | Square Ceiling Light | 6 |  | Energy Audit (EB Block-1 & Admin Block)
121 | EB Block-1 | Fifth Floor | E-Con Lab | Smart Board | 1 |  | Energy Audit (EB Block-1 & Admin Block)
122 | EB Block-1 | Fifth Floor | Digital Circuits Lab | PC | 12 |  | Energy Audit (EB Block-1 & Admin Block)
123 | EB Block-1 | Fifth Floor | Digital Circuits Lab | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
124 | EB Block-1 | Fifth Floor | Digital Circuits Lab | Battery (42Ah, 12V) | 20 |  | Energy Audit (EB Block-1 & Admin Block)
125 | EB Block-1 | Fifth Floor | Digital Circuits Lab | Battery (40Ah, 12V) | 17 |  | Energy Audit (EB Block-1 & Admin Block)
126 | EB Block-1 | Fifth Floor | Digital Circuits Lab | LED Focus Light | 23 |  | Energy Audit (EB Block-1 & Admin Block)
127 | EB Block-1 | Fifth Floor | Digital Circuits Lab | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
128 | EB Block-1 | Fifth Floor | Microwave Lab | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
129 | EB Block-1 | Fifth Floor | Microwave Lab | BLDC Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
130 | EB Block-1 | Fifth Floor | Microwave Lab | PC | 10 |  | Energy Audit (EB Block-1 & Admin Block)
131 | EB Block-1 | Fifth Floor | Microwave Lab | Smart Board | 1 |  | Energy Audit (EB Block-1 & Admin Block)
132 | EB Block-1 | F To S Staircase | Corridor | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
133 | EB Block-1 | Sixth Floor | DSP Lab | Induction Fan | 8 |  | Energy Audit (EB Block-1 & Admin Block)
134 | EB Block-1 | Sixth Floor | DSP Lab | Square Ceiling Light | 21 |  | Energy Audit (EB Block-1 & Admin Block)
135 | EB Block-1 | Sixth Floor | DSP Lab | PC | 17 |  | Energy Audit (EB Block-1 & Admin Block)
136 | EB Block-1 | Sixth Floor | DSP Lab | Battery (65Ah, 12V) | 16 |  | Energy Audit (EB Block-1 & Admin Block)
137 | EB Block-1 | Sixth Floor | DSP Lab | Inverter | 1 |  | Energy Audit (EB Block-1 & Admin Block)
138 | EB Block-1 | Sixth Floor | DSP Lab | AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
139 | EB Block-1 | Sixth Floor | HVAC Lab | Centralized AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
140 | EB Block-1 | Sixth Floor | Optical Microwave Lab | PC | 20 |  | Energy Audit (EB Block-1 & Admin Block)
141 | EB Block-1 | Sixth Floor | Optical Microwave Lab | AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
142 | EB Block-1 | Sixth Floor | Optical Microwave Lab | Induction Fan | 7 |  | Energy Audit (EB Block-1 & Admin Block)
143 | EB Block-1 | Sixth Floor | Optical Microwave Lab | Square Ceiling Light | 21 |  | Energy Audit (EB Block-1 & Admin Block)
144 | EB Block-1 | Sixth Floor | Corridor | Fluorescent Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
145 | EB Block-1 | Sixth Floor | Corridor | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
146 | EB Block-1 | S To S Staircase | Corridor | LED Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
147 | EB Block-1 | Seventh Floor | Silicon Lab | Smart Board | 1 |  | Energy Audit (EB Block-1 & Admin Block)
148 | EB Block-1 | Seventh Floor | Silicon Lab | PC | 16 |  | Energy Audit (EB Block-1 & Admin Block)
149 | EB Block-1 | Seventh Floor | Silicon Lab | Square Ceiling Light | 6 |  | Energy Audit (EB Block-1 & Admin Block)
150 | EB Block-1 | Seventh Floor | Silicon Lab | BLDC Fan | 6 |  | Energy Audit (EB Block-1 & Admin Block)
151 | EB Block-1 | Seventh Floor | Silicon Lab | AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
152 | EB Block-1 | Seventh Floor | Silicon Lab | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
153 | ADMIN BLK | OUTSIDE | PASSAGE | Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
154 | ADMIN BLK | OUTSIDE | PASSAGE | Square Light | 14 |  | Energy Audit (EB Block-1 & Admin Block)
155 | ADMIN BLK | OUTSIDE | PASSAGE | Notice Board | 1 |  | Energy Audit (EB Block-1 & Admin Block)
156 | ADMIN BLK | OUTSIDE | PASSAGE | Fingerprint Reader | 5 |  | Energy Audit (EB Block-1 & Admin Block)
157 | ADMIN BLK | Ground | REGISTER ROOM | Square Ceiling Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
158 | ADMIN BLK | Ground | REGISTER ROOM | Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
159 | ADMIN BLK | Ground | REGISTER ROOM | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
160 | ADMIN BLK | Ground | REGISTER ROOM | PC | 2 |  | Energy Audit (EB Block-1 & Admin Block)
161 | ADMIN BLK | Ground | VP ROOM -A | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
162 | ADMIN BLK | Ground | VP ROOM -A | PC | 2 |  | Energy Audit (EB Block-1 & Admin Block)
163 | ADMIN BLK | Ground | VP ROOM -A | Printer | 2 |  | Energy Audit (EB Block-1 & Admin Block)
164 | ADMIN BLK | Ground | VP ROOM -A | Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
165 | ADMIN BLK | Ground | VP ROOM -A | Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
166 | ADMIN BLK | Ground | MANAGER ROOM | PC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
167 | ADMIN BLK | Ground | MANAGER ROOM | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
168 | ADMIN BLK | Ground | MANAGER ROOM | LED TV | 1 |  | Energy Audit (EB Block-1 & Admin Block)
169 | ADMIN BLK | Ground | MANAGER ROOM | BLDC Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
170 | ADMIN BLK | Ground | MANAGER ROOM | Square Ceiling Light | 3 |  | Energy Audit (EB Block-1 & Admin Block)
171 | ADMIN BLK | Ground | MANAGER ROOM | Printer | 1 |  | Energy Audit (EB Block-1 & Admin Block)
172 | ADMIN BLK | Ground | ADMIN | Light | 4 |  | Energy Audit (EB Block-1 & Admin Block)
173 | ADMIN BLK | Ground | ADMIN | Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
174 | ADMIN BLK | Ground | ADMIN | PC | 5 |  | Energy Audit (EB Block-1 & Admin Block)
175 | ADMIN BLK | Ground | ADMIN | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
176 | ADMIN BLK | Ground | ADMIN | Printer | 3 |  | Energy Audit (EB Block-1 & Admin Block)
177 | ADMIN BLK | Ground | VP-ADMIN | PC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
178 | ADMIN BLK | Ground | VP-ADMIN | Light | 4 |  | Energy Audit (EB Block-1 & Admin Block)
179 | ADMIN BLK | Ground | VP-ADMIN | Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
180 | ADMIN BLK | Ground | VP-ADMIN | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
181 | ADMIN BLK | Ground | PS(P) | Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
182 | ADMIN BLK | Ground | PS(P) | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
183 | ADMIN BLK | Ground | PS(P) | Printer | 3 |  | Energy Audit (EB Block-1 & Admin Block)
184 | ADMIN BLK | Ground | PS(P) | Fluorescent Tube | 1 |  | Energy Audit (EB Block-1 & Admin Block)
185 | ADMIN BLK | Ground | PS(P) | Scanner | 1 |  | Energy Audit (EB Block-1 & Admin Block)
186 | ADMIN BLK | Ground | PS(P) | PC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
187 | ADMIN BLK | Ground | PS(P) | Wall Mount Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
188 | ADMIN BLK | Ground | PRINICIPAL ROOM | 55" TV | 2 |  | Energy Audit (EB Block-1 & Admin Block)
189 | ADMIN BLK | Ground | PRINICIPAL ROOM | TV (45) | 1 |  | Energy Audit (EB Block-1 & Admin Block)
190 | ADMIN BLK | Ground | PRINICIPAL ROOM | AC | 1 |  | Energy Audit (EB Block-1 & Admin Block)
191 | ADMIN BLK | Ground | PRINICIPAL ROOM | Square Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
192 | ADMIN BLK | Ground | PRINICIPAL ROOM | Small Square Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
193 | ADMIN BLK | Ground | PRINICIPAL ROOM | Fluorescent Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
194 | ADMIN BLK | Ground | PRINICIPAL ROOM | LED Tube | 2 |  | Energy Audit (EB Block-1 & Admin Block)
195 | ADMIN BLK | Ground | PRINICIPAL ROOM | Camera Server | 2 |  | Energy Audit (EB Block-1 & Admin Block)
196 | ADMIN BLK | Ground | PRINICIPAL ROOM | Wall Mount Fan | 2 |  | Energy Audit (EB Block-1 & Admin Block)
197 | ADMIN BLK | Ground | PRINICIPAL ROOM | Focus Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
198 | ADMIN BLK | Ground | PRINICIPAL ROOM | Fridge | 1 |  | Energy Audit (EB Block-1 & Admin Block)
199 | ADMIN BLK | Ground | ACCOUNTS ROOM | PC | 4 |  | Energy Audit (EB Block-1 & Admin Block)
200 | ADMIN BLK | Ground | ACCOUNTS ROOM | Printer | 3 |  | Energy Audit (EB Block-1 & Admin Block)
201 | ADMIN BLK | Ground | ACCOUNTS ROOM | Light | 4 |  | Energy Audit (EB Block-1 & Admin Block)
202 | ADMIN BLK | Ground | ACCOUNTS ROOM | AC | 2 |  | Energy Audit (EB Block-1 & Admin Block)
203 | ADMIN BLK | Ground | ACCOUNTS ROOM | BLDC Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
204 | ADMIN BLK | Ground | ACCOUNTS ROOM | Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
205 | ADMIN BLK | Ground | CONFERENCE ROOM | Smart Board | 2 |  | Energy Audit (EB Block-1 & Admin Block)
206 | ADMIN BLK | Ground | CONFERENCE ROOM | AC | 3 |  | Energy Audit (EB Block-1 & Admin Block)
207 | ADMIN BLK | Ground | CONFERENCE ROOM | Square Light | 14 |  | Energy Audit (EB Block-1 & Admin Block)
208 | ADMIN BLK | Ground | CONFERENCE ROOM | Circle Light | 15 |  | Energy Audit (EB Block-1 & Admin Block)
209 | ADMIN BLK | Ground | CONFERENCE ROOM | Focus Light | 3 |  | Energy Audit (EB Block-1 & Admin Block)
210 | ADMIN BLK | Ground | STORE ROOM | Camera Server | 1 |  | Energy Audit (EB Block-1 & Admin Block)
211 | ADMIN BLK | Ground | STORE ROOM | Network Switch | 1 |  | Energy Audit (EB Block-1 & Admin Block)
212 | ADMIN BLK | Ground | STORE ROOM | BLDC Fan | 1 |  | Energy Audit (EB Block-1 & Admin Block)
213 | ADMIN BLK | Ground | STORE ROOM | LED | 1 |  | Energy Audit (EB Block-1 & Admin Block)
214 | ADMIN BLK | Ground | RESTROOM | LED | 6 |  | Energy Audit (EB Block-1 & Admin Block)
215 | ADMIN BLK | Ground | OUTSIDE ADMIN | LED | 3 |  | Energy Audit (EB Block-1 & Admin Block)
216 | ADMIN BLK | Ground | OUTSIDE ADMIN | Focus Light | 2 |  | Energy Audit (EB Block-1 & Admin Block)
217 | ADMIN BLK | Ground | OUTSIDE ADMIN | 200W Focus | 1 |  | Energy Audit (EB Block-1 & Admin Block)
218 | Block-3 | Ground | Help desk | Tower Fan | 1 |  | Block-3 Component Inventory
219 | Block-3 | Ground | Help desk | AC | 1 |  | Block-3 Component Inventory
220 | Block-3 | Ground | Help desk | 55" TV | 1 |  | Block-3 Component Inventory
221 | Block-3 | Ground | Help desk | Network Server | 1 |  | Block-3 Component Inventory
222 | Block-3 | Ground | Help desk | Camera | 1 |  | Block-3 Component Inventory
223 | Block-3 | Ground | Help desk | PC | 3 |  | Block-3 Component Inventory
224 | Block-3 | Ground | Help desk | Speaker | 1 |  | Block-3 Component Inventory
225 | Block-3 | Ground | Book Store | Fan | 2 |  | Block-3 Component Inventory
226 | Block-3 | Ground | Book Store | CFL | 2 |  | Block-3 Component Inventory
227 | Block-3 | Ground | Outside | CFL Tube | 2 |  | Block-3 Component Inventory
228 | Block-3 | Ground | Outside | Fire Alarm Panel | 1 |  | Block-3 Component Inventory
229 | Block-3 | Ground | Outside | LED Circular Light | 6 |  | Block-3 Component Inventory
230 | Block-3 | Ground | Outside | Med Square Light | 4 |  | Block-3 Component Inventory
231 | Block-3 | Ground | Outside | Motor (45KW-60HP) | 1 |  | Block-3 Component Inventory
232 | Block-3 | Ground | Physics Lab-II (Research Lab) | Square Ceiling Light | 4 |  | Block-3 Component Inventory
233 | Block-3 | Ground | Physics Lab-II (Research Lab) | Fan | 2 |  | Block-3 Component Inventory
234 | Block-3 | Ground | Physics Lab-II (Dark Room) | Square LED | 4 |  | Block-3 Component Inventory
235 | Block-3 | Ground | Physics Lab-II (Dark Room) | Fan | 2 |  | Block-3 Component Inventory
236 | Block-3 | Ground | Lab-I | Fan | 20 |  | Block-3 Component Inventory
237 | Block-3 | Ground | Lab-I | Squ. Ceiling Light | 26 |  | Block-3 Component Inventory
238 | Block-3 | Ground | Lab-I | LED Tube | 2 |  | Block-3 Component Inventory
239 | Block-3 | Ground | Lab-I (Cabin) | LED | 4 |  | Block-3 Component Inventory
240 | Block-3 | Ground | Lab-I (Cabin) | Fan | 2 |  | Block-3 Component Inventory
241 | Block-3 | Ground | Lab-I (Cabin) | Camera Server | 1 |  | Block-3 Component Inventory
242 | Block-3 | Ground | Lab-II | Square Light | 24 |  | Block-3 Component Inventory
243 | Block-3 | Ground | Lab-II | Fan | 21 |  | Block-3 Component Inventory
244 | Block-3 | Ground | Lab-II | LED Tube | 2 |  | Block-3 Component Inventory
245 | Block-3 | Ground | Power Room | CFL Tube | 1 |  | Block-3 Component Inventory
246 | Block-3 | Ground | Power Room | Wall Mount Fan | 1 |  | Block-3 Component Inventory
247 | Block-3 | Ground | Robotics Lab | Square Light |  |  | Block-3 Component Inventory
248 | Block-3 | Ground | Robotics Lab | PC | 34 |  | Block-3 Component Inventory
249 | Block-3 | Ground | Robotics Lab | Fan | 5 |  | Block-3 Component Inventory
250 | Block-3 | Ground | Robotics Lab | Circle Light | 5 |  | Block-3 Component Inventory
251 | Block-3 | Ground | Robotics Lab | Centralized AC | 2 |  | Block-3 Component Inventory
252 | Block-3 | Ground | Robotics Lab | Projector | 1 |  | Block-3 Component Inventory
253 | Block-3 | Ground | Robotics Lab | Network Switch | 1 |  | Block-3 Component Inventory
254 | Block-3 | Ground | Robotics Lab | Camera Server | 1 |  | Block-3 Component Inventory
255 | Block-3 | Ground | Robotics Lab | 20KVA Inverter | 1 |  | Block-3 Component Inventory
256 | Block-3 | Ground | Robotics Lab | Battery (40Ah 20V) | 20 |  | Block-3 Component Inventory
257 | Block-3 | Ground | Robotics Lab (ABB/IRB 1200) | Robotic Arm | 1 |  | Block-3 Component Inventory
258 | Block-3 | Ground | Centre of Bio-Active Glass Research | Med Square Ceiling Light |  |  | Block-3 Component Inventory
259 | Block-3 | Ground | Centre of Bio-Active Glass Research | Fan | 4 |  | Block-3 Component Inventory
260 | Block-3 | Ground | Centre of Bio-Active Glass Research | AC | 3 |  | Block-3 Component Inventory
261 | Block-3 | Ground | Centre of Bio-Active Glass Research | Wall Mount Fan | 3 |  | Block-3 Component Inventory
262 | Block-3 | Ground | Centre of Bio-Active Glass Research | Fridge | 1 |  | Block-3 Component Inventory
263 | Block-3 | Ground | Centre of Bio-Active Glass Research | PC | 4 |  | Block-3 Component Inventory
264 | Block-3 | Ground | Centre of Bio-Active Glass Research | Muffle Furnace | 1 |  | Block-3 Component Inventory
265 | Block-3 | Ground | Centre of Bio-Active Glass Research | Printer | 1 |  | Block-3 Component Inventory
266 | Block-3 | Ground | Centre of Bio-Active Glass Research | BOD Incubator | 1 |  | Block-3 Component Inventory
267 | Block-3 | First | General | CEL | 2 |  | Block-3 Component Inventory
268 | Block-3 | First | Synthesis Lab | Medi. Square Light | 16 |  | Block-3 Component Inventory
269 | Block-3 | First | Synthesis Lab | Fan | 10 |  | Block-3 Component Inventory
270 | Block-3 | First | Synthesis Lab | LED Tube | 9 |  | Block-3 Component Inventory
271 | Block-3 | First | Synthesis Lab | Exhaust | 1 |  | Block-3 Component Inventory
272 | Block-3 | First | Synthesis Lab | PC | 5 |  | Block-3 Component Inventory
273 | Block-3 | First | Synthesis Lab | AC | 2 |  | Block-3 Component Inventory
274 | Block-3 | First | Synthesis Lab | Printer | 1 |  | Block-3 Component Inventory
275 | Block-3 | First | Synthesis Lab | Fluorescent Instrument | 2 |  | Block-3 Component Inventory
276 | Block-3 | First | Synthesis Lab | Scanner | 1 |  | Block-3 Component Inventory
277 | Block-3 | First | Synthesis Lab | Weight Scale | 1 |  | Block-3 Component Inventory
278 | Block-3 | First | Outside | LED Tube | 1 |  | Block-3 Component Inventory
279 | Block-3 | First | Outside | CFL Tube | 3 |  | Block-3 Component Inventory
280 | Block-3 | First | LH101 | LED Tube | 13 |  | Block-3 Component Inventory
281 | Block-3 | First | LH101 | Wall Fan | 2 |  | Block-3 Component Inventory
282 | Block-3 | First | LH101 | Projector | 1 |  | Block-3 Component Inventory
283 | Block-3 | First | LH101 | Fan | 6 |  | Block-3 Component Inventory
284 | Block-3 | First | Corridor | Square Light | 6 |  | Block-3 Component Inventory
285 | Block-3 | First | VLSI ML Lab | Wall Mount Fan | 2 |  | Block-3 Component Inventory
286 | Block-3 | First | VLSI ML Lab | AC | 3 |  | Block-3 Component Inventory
287 | Block-3 | First | VLSI ML Lab | Printer | 1 |  | Block-3 Component Inventory
288 | Block-3 | First | VLSI ML Lab | PC | 5 |  | Block-3 Component Inventory
289 | Block-3 | First | VLSI ML Lab | Pedestal Fan | 1 |  | Block-3 Component Inventory
290 | Block-3 | First | VLSI ML Lab | Network Switch | 1 |  | Block-3 Component Inventory
291 | Block-3 | First | VLSI ML Lab | Light Square | 6 |  | Block-3 Component Inventory
292 | Block-3 | First | Outside | Bulb | 4 |  | Block-3 Component Inventory
293 | Block-3 | First | Outside | Small Square Light | 14 |  | Block-3 Component Inventory
294 | Block-3 | First | ISTECE Staff Room | Fan | 3 |  | Block-3 Component Inventory
295 | Block-3 | First | ISTECE Staff Room | Pedestal Fan | 2 |  | Block-3 Component Inventory
296 | Block-3 | First | ISTECE Staff Room | CFL | 2 |  | Block-3 Component Inventory
297 | Block-3 | First | ISTECE Staff Room | Square LED | 4 |  | Block-3 Component Inventory
298 | Block-3 | First | Chemistry Staff Room | Network Server | 1 |  | Block-3 Component Inventory
299 | Block-3 | First | Chemistry Staff Room | AC | 1 |  | Block-3 Component Inventory
300 | Block-3 | First | Chemistry Staff Room | Square LED | 3 |  | Block-3 Component Inventory
301 | Block-3 | First | Chemistry Staff Room | Printer | 1 |  | Block-3 Component Inventory
302 | Block-3 | First | Chemistry Staff Room | LED | 7 |  | Block-3 Component Inventory
303 | Block-3 | First | Chemistry Staff Room | CFL | 3 |  | Block-3 Component Inventory
304 | Block-3 | First | Chemistry Staff Room | PC | 4 |  | Block-3 Component Inventory
305 | Block-3 | First | Chemistry Staff Room | Pedestal Fan | 8 |  | Block-3 Component Inventory
306 | Block-3 | Second | Outside | CFL | 16 |  | Block-3 Component Inventory
307 | Block-3 | Second | Outside | LED | 9 |  | Block-3 Component Inventory
308 | Block-3 | Second | Physics Staff Room | Network Server | 1 |  | Block-3 Component Inventory
309 | Block-3 | Second | Physics Staff Room | AC | 1 |  | Block-3 Component Inventory
310 | Block-3 | Second | Physics Staff Room | Square LED | 3 |  | Block-3 Component Inventory
311 | Block-3 | Second | Physics Staff Room | Printer | 1 |  | Block-3 Component Inventory
312 | Block-3 | Second | Physics Staff Room | LED | 7 |  | Block-3 Component Inventory
313 | Block-3 | Second | Physics Staff Room | CFL | 3 |  | Block-3 Component Inventory
314 | Block-3 | Second | Physics Staff Room | PC | 4 |  | Block-3 Component Inventory
315 | Block-3 | Second | Physics Staff Room | Pedestal Fan | 8 |  | Block-3 Component Inventory
316 | Block-3 | Second | Chemistry LAB | Square Ceiling Light | 4 |  | Block-3 Component Inventory
317 | Block-3 | Second | Chemistry LAB | Fan | 2 |  | Block-3 Component Inventory
318 | Block-3 | Second | Chemistry LAB | Square LED | 4 |  | Block-3 Component Inventory
319 | Block-3 | Second | Chemistry LAB | Fan | 2 |  | Block-3 Component Inventory
320 | Block-3 | Second | Chemistry LAB | Square Ceiling Light | 4 |  | Block-3 Component Inventory
321 | Block-3 | Second | Chemistry LAB | Fan | 2 |  | Block-3 Component Inventory
322 | Block-3 | Second | Chemistry LAB | Square LED | 4 |  | Block-3 Component Inventory
323 | Block-3 | Second | Chemistry LAB | Fan | 2 |  | Block-3 Component Inventory
324 | Block-3 | Second | Chemistry LAB | Fan | 20 |  | Block-3 Component Inventory
325 | Block-3 | Second | Chemistry LAB | Squ. Ceiling Light | 26 |  | Block-3 Component Inventory
326 | Block-3 | Second | Chemistry LAB | LED Tube | 2 |  | Block-3 Component Inventory
327 | Block-3 | Second | Chemistry LAB | LED | 4 |  | Block-3 Component Inventory
328 | Block-3 | Second | Chemistry LAB | Fan | 2 |  | Block-3 Component Inventory
329 | Block-3 | Second | Chemistry LAB | Camera Server | 1 |  | Block-3 Component Inventory
330 | Block-3 | Second | Chemistry LAB | Square Light | 24 |  | Block-3 Component Inventory
331 | Block-3 | Second | Chemistry LAB | Fan | 21 |  | Block-3 Component Inventory
332 | Block-3 | Second | Chemistry LAB | LED Tube | 2 |  | Block-3 Component Inventory
333 | Block-3 | Second | Chemistry LAB | Exhaust | 12 |  | Block-3 Component Inventory
334 | Block-3 | First | LH 102 | LED Tube | 13 |  | Block-3 Component Inventory
335 | Block-3 | First | LH102 | Wall Fan | 2 |  | Block-3 Component Inventory
336 | Block-3 | First | LH102 | Projector | 1 |  | Block-3 Component Inventory
337 | Block-3 | First | LH102 | Fan | 6 |  | Block-3 Component Inventory
338 | Block-3 | First | LH 103 | LED Tube | 13 |  | Block-3 Component Inventory
339 | Block-3 | First | LH103 | Wall Fan | 2 |  | Block-3 Component Inventory
340 | Block-3 | First | LH103 | Projector | 1 |  | Block-3 Component Inventory
341 | Block-3 | First | LH103 | Fan | 6 |  | Block-3 Component Inventory
342 | Block-3 | First | DSP & EM Lab | Wall Mount Fan | 2 |  | Block-3 Component Inventory
343 | Block-3 | First | DSP & EM Lab | AC | 3 |  | Block-3 Component Inventory
344 | Block-3 | First | DSP & EM Lab | Printer | 1 |  | Block-3 Component Inventory
345 | Block-3 | First | DSP & EM Lab | PC | 5 |  | Block-3 Component Inventory
346 | Block-3 | First | DSP & EM Lab | Pedestal Fan | 1 |  | Block-3 Component Inventory
347 | Block-3 | First | DSP & EM Lab | Network Switch | 1 |  | Block-3 Component Inventory
348 | Block-3 | First | DSP & EM Lab | Light Square | 6 |  | Block-3 Component Inventory
349 | Block-3 | Second | LH-204 | LED | 11 |  | Block-3 Component Inventory
350 | Block-3 | Second | LH-204 | Fan | 9 |  | Block-3 Component Inventory
351 | Block-3 | Second | LH-204 | Projector | 1 |  | Block-3 Component Inventory
352 | Block-3 | Second | LH-203 | LED | 11 |  | Block-3 Component Inventory
353 | Block-3 | Second | LH-203 | Fan | 9 |  | Block-3 Component Inventory
354 | Block-3 | Second | LH-203 | Projector | 1 |  | Block-3 Component Inventory
355 | Block-3 | Second | LH-202 | LED | 11 |  | Block-3 Component Inventory
356 | Block-3 | Second | LH-202 | Fan | 9 |  | Block-3 Component Inventory
357 | Block-3 | Second | LH-202 | Projector | 1 |  | Block-3 Component Inventory
358 | Block-3 | Second | LH-201 | LED | 11 |  | Block-3 Component Inventory
359 | Block-3 | Second | LH-201 | Fan | 9 |  | Block-3 Component Inventory
360 | Block-3 | Second | LH-201 | Projector | 1 |  | Block-3 Component Inventory

## Summary by Block
Summary by Block
Block | Source | No. of Entries | Total Component Count
ADMIN BLK | Energy Audit (EB Block-1 & Admin Block) | 65 | 167
EB Block-1 | Energy Audit (EB Block-1 & Admin Block) | 152 | 750
EB Block-2 | EB Block-2 Component Inventory | 142 | 727
EB Block-3 | EB Block-2 Component Inventory | 1 | 1