EB BLOCK - 3

| Device Type | Ground | First | Second | Total |
| --- | --- | --- | --- | --- |
| 20KVA Inverter | 1 | 0 | 0 | 1 |
| 55" TV | 1 | 0 | 0 | 1 |
| AC | 4 | 9 | 1 | 14 |
| BOD Incubator | 1 | 0 | 0 | 1 |
| Battery (40Ah 20V) | 20 | 0 | 0 | 20 |
| CFL Bulb | 0 | 4 | 0 | 4 |
| Fluroscent Tube | 5 | 10 | 19 | 34 |
| Camera Server | 3 | 0 | 1 | 4 |
| Centralized AC | 2 | 0 | 0 | 2 |
| Circle Light | 5 | 0 | 0 | 5 |
| Exhaust | 0 | 1 | 12 | 13 |
| Fan | 58 | 31 | 87 | 176 |
| Fire Alarm Panel | 1 | 0 | 0 | 1 |
| Fluorescent Instrument | 0 | 2 | 0 | 2 |
| Fridge | 1 | 0 | 0 | 1 |
| LED Circular Light | 6 | 0 | 0 | 6 |
| LED Tube | 8 | 56 | 68 | 132 |
| Light Square | 0 | 12 | 0 | 12 |
| Medi. Square Light | 4 | 16 | 0 | 20 |
| Motor (45KW-60HP) | 1 | 0 | 0 | 1 |
| Muffle Furnace | 1 | 0 | 0 | 1 |
| Network Server | 1 | 1 | 1 | 3 |
| Network Switch | 1 | 2 | 0 | 3 |
| PC | 41 | 19 | 4 | 64 |
| Pedestal Fan | 0 | 12 | 8 | 20 |
| Printer | 1 | 4 | 1 | 6 |
| Projector | 1 | 3 | 4 | 8 |
| Robotic Arm | 1 | 0 | 0 | 1 |
| Scanner | 0 | 1 | 0 | 1 |
| Small Square Light | 0 | 14 | 0 | 14 |
| Speaker | 1 | 0 | 0 | 1 |
| Square Ceiling Light | 58 | 6 | 66 | 130 |
| Tower Fan | 1 | 0 | 0 | 1 |
| Wall Fan | 0 | 6 | 0 | 6 |
| Wall Mount Fan | 4 | 4 | 0 | 8 |
| Weight Scale | 0 | 1 | 0 | 1 |
| Total | 232 | 221 | 275 | 728 |

EB BLOCK

| Device Type | Ground Floor | 1st Floor | 2nd Floor | 3rd Floor | 4th Floor | 5th Floor | 6th Floor | 7th Floor | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ac | 0 | 0 | 0 | 5 | 0 | 5 | 6 | 3 | 19 |
| Battery | 0 | 0 | 0 | 16 | 0 | 20 | 16 | 0 | 52 |
| Bldc Fan | 0 | 0 | 0 | 9 | 0 | 3 | 0 | 6 | 18 |
| Ceiling Light | 0 | 0 | 0 | 28 | 0 | 15 | 0 | 8 | 51 |
| Central Ac | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |
| Diesel Generator | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Exhaust Fan | 0 | 1 | 2 | 1 | 2 | 1 | 1 | 0 | 8 |
| Fan | 0 | 37 | 40 | 11 | 11 | 27 | 15 | 0 | 141 |
| Fire Alarm Panel | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Fluorescent Tube | 1 | 16 | 26 | 3 | 19 | 8 | 4 | 0 | 77 |
| Inverter | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 3 |
| Led | 0 | 17 | 31 | 7 | 3 | 32 | 14 | 2 | 106 |
| Led Square Lamp | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 |
| Led Tube | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 7 |
| Led Tv | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Light | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 0 | 42 |
| Network Switch | 0 | 1 | 0 | 2 | 0 | 1 | 0 | 1 | 5 |
| Pc | 0 | 5 | 0 | 56 | 2 | 38 | 37 | 16 | 154 |
| Printer | 0 | 2 | 0 | 0 | 3 | 1 | 0 | 0 | 6 |
| Smart Board | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 3 |
| Wall Mount Fan | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 3 |
| Total | 11 | 85 | 99 | 141 | 42 | 153 | 139 | 37 | 707 |

ADMIN BLOCK

| Device Type | Ground Floor | Total |
| --- | --- | --- |
| 200W Focus | 1 | 1 |
| Ac | 9 | 9 |
| Bldc Fan | 5 | 5 |
| Camera Server | 2 | 2 |
| Ceiling Light | 22 | 22 |
| Circle Light | 15 | 15 |
| Exhaust | 1 | 1 |
| Fan | 9 | 9 |
| Fingerprint Reader | 5 | 5 |
| Fluorescent Tube | 3 | 3 |
| Focus Light | 7 | 7 |
| Fridge | 1 | 1 |
| Led | 12 | 12 |
| Light | 16 | 16 |
| Network Switch | 1 | 1 |
| Notice Board | 1 | 1 |
| Pc | 18 | 18 |
| Printer | 14 | 14 |
| Scanner | 1 | 1 |
| Small Ceiling Light | 2 | 2 |
| Smart Board | 2 | 2 |
| Square Light | 14 | 14 |
| Tv | 4 | 4 |
| Wall Mount Fan | 3 | 3 |
| Total | 168 | 168 |